REGION 4 REGIONAL RESPONSE TEAM

GUIDANCE FOR

THE DISPOSAL OF CONTACT WATER

# IN INLAND, OCEAN, AND COASTAL WATERS

Revision:  January 5, 2002

INTRODUCTION

The decision to dispose of contact water within inland, ocean, and coastal waters rests with the federal On-Scene Coordinator (OSC) and the Unified Command (UC).  This document provides Region 4 Regional Response Team (RRT) guidance and decision-making tools to support and assist OSC/UC actions within the region when they are pursuing the disposal of contact water.  The information contained within this document was developed strictly to identify issues and provide consistent viewpoints and procedures to assist the OSC/UC and alleviate potential barriers that may inhibit the decision process.  This is a planning and preparedness effort and we encourage Area Committee members to incorporate concepts and information from this document into their respective Area Contingency Plans.   It is structured in three sections.  Section I defines the purpose, authority, and scope of the process.  Section II contains the general guidance and procedures that may be considered by the OSC/UC when conducting disposal of contact water on applicable oil spills throughout federal Region 4.  Section III contains appendices and includes:

- Separate protocols for each state or commonwealth, which establish specific conditions or procedures for conducting any disposal of contact water inside territorial waters (3 miles or less from shore), and for special managed areas if applicable and the approval or final decision process for conducting such operations;

- Decision tree for supporting contact water disposal or decanting operations;

- Suggested procedures, guidance, and standards for the proper contact water disposal or decanting operations;

- Suggested monitoring protocols;  and

- Optional Information/Decision checklist for contact water disposal operations.

SECTION I

## Purpose

The purpose of this guidance is solely to support and enhance the OSC/UC’s ability to quickly determine the best course of action when addressing the disposal of contact water into inland, ocean, and coastal waters.  This guidance outlines the decision-making process, identifies issues, suggests procedures, and provides checklists to help standardize the contact water disposal options.  This guidance is a planning and preparedness tool that can be taken in part or in whole and incorporated into various Area Contingency Plans.

As mentioned earlier, the disposal of contact water is an OSC/UC decision and no RRT concurrence or consultation is necessary.  However, the RRT recognizes that in some instances the physical containment and collection of contact water during significant oil spill incidents is unfeasible or inadequate and the effective disposal of contact water as an oil spill response technique must be considered.  These guidelines were developed to allow the federal On-Scene Coordinator and their state/commonwealth On-Scene Coordinator partners, within the Unified Command, to employ concepts or tools from this guidance to help or assist in the disposal of contact waters to:

- Prevent or substantially reduce a hazard to human life;

- Minimize the environmental impact of spilled oil;

- Take full advantage of available containment/collection resources in an effort to enhance the efficiency of the overall removal operation; or

- Reduce or eliminate economic or aesthetic losses which would otherwise presumably occur without the use of this technique.

## Authority

Subpart D of the National Oil and Hazardous Substances Contingency Plan (NCP) provides that the federal On-Scene Coordinator (OSC) in consultation federal trustee representatives, may authorize the disposal of contact waters during oil spills.

Commandant, U.S. Coast Guard, has pre-designated the USCG Captains of the Port as federal On-Scene Coordinators (OSC) for coastal zone oil spills and has delegated authority and responsibility for compliance with Section 311 of the Federal Water Pollution Control Act or Clean Water Act, as amended, to them.  The EPA has delegated its authority for authorization of disposal of contact water to the EPA representative to the Regional Response Team (RRT).  The RRT representatives from the Department of Commerce (DOC), the Department of Interior (DOI), and the State/Commonwealth have been delegated authority by their representative agencies or governments to represent natural resource trustee concerns and serve as consultants to the RRT or OSC on these matters.

## Scope

This guidance covers protocols that provide the OSC/UC with procedures and process to pursue the conditional disposal of contact water to enhance response/removal operations for oil spills within the boundaries of the Region 4.

In accordance with response planning regimes required by the Clean Water Act as amended by OPA 90, the responsible party (RP) will be expected to provide sufficient containment, collection, and storage resources in accordance with accepted response plans.  The process for disposal and discharge of contact water explained within this document should be considered a last resort response to address a lack of available storage resources or to ensure an efficient response.

## Conditions for Disposal of Contact Water

The term “disposal of contact water” applies to operations whereby water containing quantities of oil, resembling criteria described in 40 CFR 110 and mostly in the form of oil sheens resulting from oil/water separation activities (e.g., skimming, vacuum removal, etc.) is returned to the inland, ocean, or coastal waters after most of the free oil is contained and separated.  This guidance provides consistent and standard procedures for the disposal of contact water operations conducted within the jurisdiction of the federal Region 4.  The authority to authorize the disposal of contact water rests with the federal OSC and may not be delegated.  Decisions made in this regard shall be in accordance with procedures developed by the applicable OSC/UC, the Area Contingency Plan (ACP), and consistent with the specific procedures established within Appendix I of this document.

SECTION II

Suggested General Protocol and Guidance

Specific guidance concerning disposal of contact water operations, monitoring, and decision-making are contained in the Appendices to this document.  The following general issues are offered for consideration concerning the disposal of contact water operations falling under the provisions of this guidance:

- Health and Safety Concerns – Assuring worker’s health and safety is the responsibility of employers and ultimately the federal OSC who sahould comply with all Occupational Health and Safety Administration (OSHA) regulations.  Prior to any disposal of contact water operations, a site safety plan should be submitted and approved by the federal OSC and the Unified Command.

- Monitors representing the OSC, EPA, federal trustee agencies, the affected State/Commonwealth, and the responsible party should have the opportunity to monitor disposal of contact water operations, when feasible.  Further monitoring to establish “Continue/Discontinue” data for input to the OSC can be conducted in accordance with protocols outlined in the monitoring program contained in Appendix IV.

- Prior to any disposal of contact water operations, the OSC may review the Decision Tree contained within Appendix II and complete the checklist contained within Appendix V.  These tools are optional and have been provided to assist the OSC/UC in consistently implementing this response technique.

- The checklist found within Appendix V can be completed for disposal of contact water and provided to interested parties (e.g., the UC, the RRT, etc.).  This checklist provides a standard tool to document all pertinent issues or concerns have been addressed or considered.

- The OSC should continuously evaluate the decision to dispose of contact water.

- Disposal of contact water should be conducted by oil response trained professionals using recognized techniques and technology.

- Mechanical oil recovery equipment and/or materials should be mobilized on-scene, when feasible, for backup and complimentary response capability.

- Disposal of contact water should be conducted in accordance with consultations approved by the DOI and DOC, under section 7 of the Endangered Species Act.  Prior to beginning disposal of contact water, an on-site survey should be conducted in consultation with natural resource specialists to determine if any threatened or endangered species are present in the disposal area or otherwise at risk from any disposal operations.  Measures will be taken to prevent risk of injury to any wildlife, specially endangered or threatened species.  Examples of potential protection measures may include moving the locations of the disposal of contact water to an area where listed species are not present and physical removal of individuals of listed species under the authority of the trustee agency.

- Documentation of disposal of contact water operations may be accomplished within any required reports.  If an OSC Report or any over report medium is not required as a result of the incident, a special report is not necessary to document the disposal of contact water operation.  If RRT action is needed to support an operation, a verbal report should be made at the next RRT meeting to review the process.

- Recommendations for changes or modification to this guidance should be presented to the RRT at any time.

SECTION III

APPENDICES:

- Appendix I - Separate protocols for each state or commonwealth, which establish specific conditions or procedures for conducting any disposal of contact water inside territorial waters (3 miles or less from shore), and for special managed areas if applicable as well as the final decision-making authority and procedure for a given state or commonwealth.

- Appendix II - Decision tree for supporting contact water disposal or decanting operations.

- Appendix III – Suggested procedures, guidance, and standards for the proper contact water disposal or decanting operations.

- Appendix IV – Suggested monitoring protocols.

- Appendix V - Information/Decision checklist for contact water disposal operations.

APPENDIX I

Specific Protocols, Procedures, or Guidance for each Federal Region IV State/Commonwealth

Separate protocols for each state or commonwealth, which establish specific conditions or procedures for conducting any disposal of contact water inside territorial waters (3 miles or less from shore), and for special managed areas if applicable as well as the final decision-making authority and procedure for a given state or commonwealth.

- North Carolina

No further information.

- South Carolina

The State OSC is authorized to make contact water decisions on a case-by-case basis during the emergency response to a pollution incident in areas where the state has jurisdiction.  The contact point for the SOSC is 1-888-481-0125

- Georgia

No further information.

- Florida

The State of Florida Guidance for the Disposal of Contact Water

The State of Florida has adopted regulations concerning the management practices for petroleum contact water (PCW).  Chapter 62-740, F.A.C., Petroleum Contact Water, defines PCW and establishes the management practices to protect human health and the environment.  Conversations with the program administrator indicate that decanting operations from mechanical skimming operations during oil spill cleanups are exempt from Chapter 62-740, F.A.C.

Chapter 376.09(8), Florida Statutes, provides that notwithstanding any other provisions of law, including prohibitions or permit requirements, the federal OSC (FOSC) or the State On-Scene Coordinator (SOSC), may authorize discharges in connection with activities related to cleanup and removal of pollutants that enter State waters.  State waters are 3 miles seaward from shore on the Atlantic side of Florida and 9 miles seaward from shore on the Gulf of Mexico side of Florida, and all inland waters.

The following guidance is established so that contact water may be decanted in a manner that will protect the public health and the marine environment.

- The SOCS will be notified prior to decanting operations.  The SOSC will be informed of the decanting location, the discharge standard, and who will be conducting the decanting operation.

- Decanting operations for contact water should only be conducted in the immediate vicinity of the area impacted by the oil discharge.  Decanting operations should never be conducted in clean areas.

- Decanting operations will not be conducted over coral reefs or oyster bars; in mangrove forests or freshwater forested swamps; in freshwater marshes or coastal marshes; in areas of floating aquatic vegetation; or in waters less than three meters of depth.

- The specific gravity of the pollutant will be considered prior to decanting operations.

- Before decanting operations begin, containment boom will be placed around the area where the contact water will be discharged.

- There will be an observer at the point of discharge.  The observer will be briefed by the OSC of the discharge standard.  When the discharge standard is reached, the decanting operations will be terminated.

- There will be an operator trained on the operation of the skimmer, at the pump controls at all times during the decanting process.

- Alabama

The State OSC, provided by DEM, is authorized to make contact water decisions on a case-by-case basis during emergency pollution response operations within the State’s jurisdiction.

- Mississippi

No further information.

- Tennessee

No further information.

- Kentucky

No further information.

APPENDIX II

Disposal of Contact Water Decision Tree

Decision tree for supporting contact water disposal or decanting operations.

DISPOSAL OF CONTACT WATER DECISION TREE

No

Yes	No

No

Yes

Yes

No

No

Yes	Yes

Yes	Yes

Yes	No

No

Yes

APPENDIX III

Disposal of Contact Water Operational Guidance

Procedures, guidance, and standards for the proper contact water disposal or decanting operations.  Given the indicators noted above and other indicators identified during the pollution incident, the OSC/Unified Command must determine a standard for the disposal of contact water into U.S. navigable waters.  Any of the following proposals or combinations thereof may be chosen to support the operation.  Although these standards are not all inclusive, they may be used as a starting point from which to develop a standard that would best serve the conditions of the pollution incident set before the OSC/Unified Command.

Discharge to the Point of Pure Pollutant.  This standard maximizes the amount of pure pollutant remaining in the storage resource.  Monitoring is conducted by visual observation at the point of discharge.  Decanted oil/water mixture is discharged into an area surrounded by containment boom that can be controlled by releasing the substance into a non-sensitive area or recovering the discharged substance.  Pump rates of the decanted oil/water mixture into the contained area should be monitored and controlled closely with shutdown procedures well known by the personnel conducting the operation.

Sheen Test.  This standard ensures the amount of pollutant remaining in the storage resource is a near oil/water mixture.  This standard essentially controlls the discharge to the point of the definition of a "harmful quantity".  Monitoring is conducted by visual observation at the point of discharge.  Decanted oil/water mixture is discharged into an area surrounded by containment boom that can be controlled by releasing the substance into a non-sensitive area or recovering the discharged substance.  Pump rates of the decanted oil/water mixture into the contained area should be monitored and controlled closely with shutdown procedures well known by the personnel conducting the operation.

Discharge Testing/Analysis. This standard is the most conservative approach and controls the discharge to the desired the amount of pollutant acceptable by the OSC/Unified Command being released into U.S. navigable waters.  Monitoring is conducted by testing and laboratory analysis from samples taken at the discharge point.  Decanted oil/water mixture is discharged into a area surrounded by containment boom that can be controlled by releasing the substance into a non-sensitive area or recovering the discharged substance.  Pump rates of the decanted oil/water mixture into the contained area should be monitored and controlled closely with shutdown procedures well known by the personnel conducting the operation.  The limiting factor in conducting this type of monitor is the sample analysis time and the ability to proceed with the operation uninhibited.  Where  possible, within planning and preparedness efforts, sampling protocols identifying acceptable discharge levels and technical teams to conduct this monitoring procedures should be developed prior to the event.

APPENDIX IV

Disposal of Contact Water Monitoring Protocol.

During disposal of contact water operations, there is a need to monitor the operation to ensure that agreed upon standards and provisions are met and maintained during the activity.  The objective of monitoring the disposal of contact water is to validate and ensure that the arrangement or setup of the operation is according to a agreed upon design and that the discharge standard developed for the operation is continually enforced.

Elements of a Good Monitoring Program.

Elements of a good monitoring program should include:

- Clear Objectives - Define the question(s) to be answered from the monitoring program.  They must be able to support decisions on further use of the technique.

- Meaningful Discharge Standard - Any tests or standards developed to determine the extent of the acceptable discharge during the disposal of contact water should be operationally feasible to the extent practical.  The ability to measure or determine whether the standard has been met should not be so laborious a protocol as to prohibit the possibility of conducting the operation.  The discharge standard should be viewed as a "tradeoff" where our goal is to do no further harm by weighing the amount of product "decanted" or returned back to the environment versus the ability to remove, store, and contain greater amounts of pure pollutant on scene more efficiently.

- Monitor Protocol Design - At a minimum, the testing/monitoring regime during disposal of contact water should involve replicate observations at both discharge and non-discharge (control) areas before and after the operation.  Controls should be similar to the discharge site in all ways except the actual conduct of the disposal of contact water.  In some cases, it may be appropriate to use a site (before discharge) as its own control for comparing the effects after the discharge of contact water.

- Trained Team for Preparation and Observation - Proper monitoring during the disposal of contact water relies heavily on visual observations and an understanding of the operation's mechanism of action, environmental concerns, and expected or desired results.  Thus, it is critical that the team members be both skilled in the design and implementation of the operation and trained in how to observe and monitor.  Untrained team members without a background or knowledge in the ultimate objectives and goals of this type of operation will not be able to provide the Unified Command with appropriate protocols and meaningful evaluations of the operations' success, efficiency, effectiveness, and results.  OSCs are strongly encouraged to use teams that are pre-identified through their respective planning doctrine.

Testing and Monitoring Procedures.

It is suggested that the testing and monitoring protocol follow five (5) levels outlined below.  Depending of the questions and concerns that need to be answered during the operation will dictate which discharge measure you will use during Level 1 (this is also addressed in the checklist provided within Appendix V and should already be complete and known before addressing desired monitoring standards).  The decision on which protocol you will use may involve the following indicators:

- General environment where the operation is being conducted (e.g., inland, near shore, offshore, etc.);

- The location or proximity of the operation to environmental or economically sensitive resources;

- The availability of appropriate containment and storage for recovered oil; and

- The efficiency of offloading full storage receptacles (e.g., tank barge, dracone, inflatable barge, temporary shore side tanks, etc.).

Level 1:  Choosing a Discharge Standard.

Given the indicators noted above and other indicators identified during the pollution incident, the OSC/Unified Command must determine a standard for the disposal of contact water into U.S. navigable waters.  Any of the following proposals or combinations thereof may be chosen to support the operation.  Although these standards are not all inclusive, they may be used as a starting point from which to develop a standard that would best serve the conditions of the pollution incident set before the OSC/Unified Command.

Discharge to the Point of Pure Pollutant.  This standard maximizes the amount of pure pollutant remaining in the storage resource.  Monitoring is conducted by visual observation at the point of discharge.  Decanted oil/water mixture is discharged into an area surrounded by containment boom that can be controlled by releasing the substance into a non-sensitive area or recovering the discharged substance.  Pump rates of the decanted oil/water mixture into the contained area should be monitored and controlled closely with shutdown procedures well known by the personnel conducting the operation.

Sheen Test.  This standard ensures the amount of pollutant remaining in the storage resource is a near oil/water mixture.  This standard essentially controlls the discharge to the point of the definition of a "harmful quantity".  Monitoring is conducted by visual observation at the point of discharge.  Decanted oil/water mixture is discharged into an area surrounded by containment boom that can be controlled by releasing the substance into a non-sensitive area or recovering the discharged substance.  Pump rates of the decanted oil/water mixture into the contained area should be monitored and controlled closely with shutdown procedures well known by the personnel conducting the operation.

Discharge Testing/Analysis. This standard is the most conservative approach and controls the discharge to the desired the amount of pollutant acceptable by the OSC/Unified Command being released into U.S. navigable waters.  Monitoring is conducted by testing and laboratory analysis from samples taken at the discharge point.  Decanted oil/water mixture is discharged into a area surrounded by containment boom that can be controlled by releasing the substance into a non-sensitive area or recovering the discharged substance.  Pump rates of the decanted oil/water mixture into the contained area should be monitored and controlled closely with shutdown procedures well known by the personnel conducting the operation.  The limiting factor in conducting this type of monitor is the sample analysis time and the ability to proceed with the operation uninhibited.  Where  possible, within planning and preparedness efforts, sampling protocols identifying acceptable discharge levels and technical teams to conduct this monitoring procedures should be developed prior to the event.

Level 2:  Effectiveness of Protocol Standard.  The objective is to determine if the protocol standard is working under the existing field conditions.  The protocol standard should be reviewed and approved by agency representatives and operations staff.  The response operations should suggest changes to the protocol to make them feasible in the filed while meeting stated goals and objectives.  They will also identify the equipment and resources necessary to support the protocol.  Measures of effectiveness can be visual, as long as they are objective and well defined (e.g., sheen test, level of oil decanted and discharge, etc.) or based on sampling and chemical analysis.  Be sure to evaluate:

- Equipment used to support the operation (e.g., pumps, shutdowns, containment boom effectiveness, etc.);

- What logistics are required and thus potential problems for full-scale operations;

- Physical impacts during the operation (e.g., sea state allowing oil/water separation, ability to safety pump oil from receptacle and control the rate of discharge, etc.); and

- Recoverability of decanted/discharged oil from containment area if the goal or objective is to recapture the bulk of the intended discharge.

Level 3:  Effects of the Operation.  The objective is to determine if the operation or use of the disposal of contact water protocol of choice results in impacts to natural resources that are likely to cause more harm than the tradeoff of not being as efficient in recovery and containment operations.  This monitoring scheme in most cases can be conducted by observing the area of the discharge/containment portion of the operation.  The end results of the decanted and discharged pollutant needs to be within the standard identified in the developed protocol.  The main question to be answered is: "Is the tradeoff acceptable, given the noticeable increase in the ability to collect and store recovered oil on-scene?"  Points to consider include:

- Has the efficiency of the recovery and collection process increased;

- Is the containment site for the decanted/discharged oil in the best feasible area to do the least harm to natural resources; and

- Have descriptive near-shore surveys at the discharge site been conducted to allow a comparison of the operation before and after the initiation of the protocol.

Level 4: Operational First-Use Monitoring.  The objective is to determine if full-scale operational use of the selected disposal of contact water protocol is effective and does not have unacceptable impacts.  Again, it is necessary to have a detailed monitoring plan for approval by involved agencies.  Operations will need to know that monitoring will be conducted, so plans can be made to give the monitoring staff site access and notification as needed.

Level 5:  Continued Monitoring.  The objective is to routinely monitor the progress of the disposal of contact water operation to assess the need for modifying the protocol used.  Field monitors should ensure that the approved methods are being properly implemented.  Weather, sea-state, or other physical processes may render approved methods ineffective, requiring either termination of the operation or the adjustment to other methods.

APPENDIX V

Disposal of Contact Water Operational Checklist

The RRT has developed this “Disposal of Contact Water Operational Checklist” to support and assist the OSC and Unified Command member agencies in their respective decision-making for various contact water disposal operations. This checklist could be used as a guide to ensure all issues and operational standards are addressed.

The checklist separates the operational information into the following “Steps”.  The completion or the need to address these “Steps” will result in a methodical protocol for decision-making or operational implementation of disposal of contact water procedures.  This checklist can also be used as an operational plan for the event.  The “Steps” are as follows:

- Step 1:  Spill, Pollutant, and Environment Background Information

- Step 2:  Evaluating the Need to Dispose of Contact Water

- Step 3:  Operational Feasibility Checklist

- Step 4:  Operational Acceptability

- Step 5:  Controls, Conditions, and Monitoring

Disposal of Contact Water Operational Checklist

Step 1:  Spill, Pollutant, and Environment Background Information

General Information:

A.  Name of Incident:  __________________________________________________________________

B.  Responsible Party (if known):  ________________________________________________________

C.  Date and Time of the Incident:  ________________________________________________________

D.  Type of Incident:	_____	Vessel Casualty

_____	Facility Incident

_____	Tank Truck Incident

_____	Transfer Operation (Vessel, Facility, Truck, or Pipeline)

_____	Explosion

_____	Vehicle Accident

_____	Blowout

_____	Pipeline

_____	Mystery

_____	Other:  _______________________________________

E.  Spill Location: 	____________________________________________________________________

____________________________________________________________________

F.  Distance and Direction to nearest human use areas (e.g., schools, hospitals, recreation areas, surface water intakes, public wells, etc.):

Area	Distance	Direction

______________________________________	_______	_______

______________________________________	_______	_______

______________________________________	_______

______________________________________	_______	_______

______________________________________	_______	_______

Pollutant/Oil Information:

G.  Product(s) Released:	_____	Heavy Crude

_____	Bunker C/#6 Fuel Oil

_____	Medium Crude

_____	Diesel/#2 Fuel Oil

_____	Jet Fuels

_____	Gasoline

_____	Other (please specify):  ____________________________________

H.  Product Details:	Product Name: 	_____________________________

Viscosity:	_____________________________

API Gravity:	_____________________________

Pour Point: 	_____________________________

Percent Evaporation in: 	24 Hours - __________  48 Hours - ___________

I.  	Estimated Volume of Released oil:	_______________ gals  ______________ bbls

J. 	Estimated Volume of oil potentially released:	_______________ gals  ______________ bbls

- Release Status:  _______ Continuous  ________ Intermittent

One Time Only, Now Stopped?  Yes _____  No _____

If Continuous or Intermittent, Specify Rate of Release:  ________________gals/bbls per hour

- Estimated Surface Area Covered:  _______________ acres/sqft

Environment Information:

M.	Current Weather: 	_____	Clear

_____	Partly Cloudy

_____	Overcast

_____	Rain/Snow/Fog

_____	Inversion

24 – Hour Projection: 	_______________________________________________________________

48 – Hour Projection:	_______________________________________________________________

Wind Speed:

Surface	Forecasted

Current Wind Speed (mph):	_______	________

Direction (from):		_______	________

24-Hour Projection (mph):	_______	________

Direction (from):		_______	________

48-Hour Projection (mph):	_______	________

Direction (from):		_______	________

Note:  Any information from visual overflights of the slick, including estimations of slick thickness, should be included here.  All additional available information pertaining to physical characterization of spilled oil should be included here.

Step 2:  Evaluating the Need to Dispose Of Contact Water

General Information:

A.	Are there adequate on-scene storage and containment receptacles to facilitate the recovery of the oil within the area of the proposed operation?    Yes  _____  No  _____

B.	Considering the spill size, forecasted weather and trajectories, amount of available equipment, is there time to deploy additional storage and containment receptacles if needed?

Yes  _____  No  _____

C.	Considering the spill size, forecasted weather and trajectories, amount of available equipment, is there time to deploy equipment and resources that are needed to support a disposal of contact water operation?   Yes  _____  No  _____

D.	At first look and given available resources is there a need to maximize the amount of recovered oil contained in available storage tanks, vessels, bladders, etc. before having to send those resources off scene to be emptied at proper reception facilities?   Yes  _____  No  _____

- Briefly, are the tradeoffs acceptable in conducting a disposal of contact water operation at the spill site given the natural resources and environment or economic sensitivity of the area?

Yes  _____  No  _____ ,  Please explain:

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

Step 3:  Operational Feasibility Checklist

Weather and Oil Conditions:

- Are weather conditions (e.g., sea-state, current, winds, etc.) acceptable to conduct disposal of contact water operations?    Yes  _____  No  _____

B.	Are environmental conditions considering safety, type and condition of the oil, the ability of the oil and water to separate, and other factors suitable to conduct disposal of contact water operations?

Yes  _____  No  _____

Habitats Impacted and Resources at Risk:

- Site Owner/Manager (federal/tribal/state/private) notified and consulted?    Yes  _____  No  _____

Name:

Address:

Phone:

- State Natural Resource Agency notified and consulted?    Yes  _____  No  _____

Name/Agency:

Address:

Phone:

- Applicable Federal Natural Resource Trustees notified and consulted?    Yes  _____  No  _____

_____	Department of Interior/U.S. Fish and Wildlife Service/National Parks Service

_____	Department of Commerce/National Oceanic and Atmospheric Administration

_____	Tennessee Valley Authority

_____	U.S. Forest Service

_____	Department of Energy

_____	Department of Defense

_____	National Aeronautic and Space Administration

_____	Other:  ___________________________________________________________

D.	Native American interests present?  Yes  _____  No  _____  Unknown  ______

Bureau of Indian Affairs contact:

Name:

Address:

Phone:

Tribal Contact:

Name:

Address:

Phone:

- Surface water intakes and/or public wells:  Yes  ____  No  ____

- Habitat Type(s) Threatened:

_____	Mangroves

_____	Seagrass

_____	Coral Reef

_____	Wetlands:

_____	Estuarine

_____	Riverine

_____	Lacustrine

_____	Palustrine

- Seasonal Concerns:  Yes  _____  No  _____

Comments:  ______________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

________________________________________________________________________________

- Biological Resources Present:  (describe significant issues such as large concentrations, breeding activities, rookeries, designated critical habitat, etc.)

_____	T&E Species, including plants (list):

_____	Mammals

_____	Waterfowl

_____	Wading Birds

_____	Diving Birds

_____	Shore Birds

_____	Raptors

_____	Fish

_____	Reptiles

_____	Amphibians

_____	Other:  __________________________________________________________________

_____	Comments/Attachments (i.e., ESI Maps, etc.)

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

- Natural Areas (list)

_____	National Park:

_____	National Wildlife Refuge:

_____	National Forest:

_____	State Park:

_____	State Wildlife Area:

_____	Other Natural Areas:  _______________________________________________________

_____	Comments:  ______________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

________________________________________________________________________

- Historic, Cultural, and Archeological Resources

_____	Unknown

_____	Not Present

_____	Present, if so, contact FOSC Historic Property Specialist and/or the State Historic Preservation Office (SHPO) pursuant to the Programmatic Agreement on Protection of Historic Properties During Emergency Response.

Name:

Address:

Phone:

Equipment and Personnel:

- Has proposed disposal of contact water site been isolated?    Yes  _____  No  _____

- Is there a Site Safety Plan in place?    Yes  _____  No  _____

- Are the appropriate pump, containment, and other associated equipment on-scene?

Yes  _____  No  _____

- Are the appropriate personnel on-scene?  Yes  _____  No  _____

- Personnel trained, equipped with safety gear, and covered by the Site Safety Plan?

Yes  _____  No  _____

- Communications system to communicate with on site personnel and vital operational functions (e.g., shutdown, monitor staff, etc.) available and working?  Yes  _____  No  _____

Proposed Disposal of Contact Water Operations Plan:

- Proposed Discharge Standard (check the appropriate protocol)

Discharge to the Point of Pure Pollutant

Sheen Test

Discharge Testing/Analysis

- Estimated amount of oil involved in operation:  Surface Area  ___________ sq ft,  Volume  ___________ gal/bbl

- Estimated amount of oil/water mixture to be discharged:  Volume  ____________ gal/bbl

- Estimated duration of the operation:  __________ min/hr

- Method for terminating the operation:  __________________________________________________

- Ability to collect discharged substance:  Yes _____  No _____

- Monitoring protocols in place?  Yes _____  No _____  If yes, attach additional monitoring plans/needs and specify the oversight agency.  _____________________________________________________

________________________________________________________________________________

________________________________________________________________________________

Step 4:  Operational Acceptability

Evaluation of Anticipated Operation:

- Using an appropriate chart, plot and calculate the following locations and distances:

- Location of proposed operation in relation to the source.

- Location of proposed operation in reference to the nearest sensitive environmental or economic resource.

- Location of proposed operation in reference to nearby human habitation/use areas, (e.g. towns, recreational use areas, airports/strips, roads, etc.)

- Populations of special concern:

1.	Schools	______

2.	Hospitals	______

3.	Communities	______

- Is there a risk of accidental discharge from storage containers on site?  Yes _____  No _____

- Are there additional pollutants present in the oil being recovered?  Yes _____  No _____

- Will discharged oil during disposal of contact water operations be contain or properly released into an acceptable area?  Yes _____  No _____

Determination of Acceptability:

- Will the discharged oil/water mixture from the disposal of contact water operation impact a natural resource, sensitive area, or inhabited community?  Yes _____  No _____

If No, Operation is Acceptable, Proceed to Step 5.

If Yes, Continue with B.

- Can the impact be acceptably managed or are the tradeoffs acceptable?  Yes _____  No _____

If Yes, implement any protection measures and authorize the operation.  Proceed to Step 5

If No, do not authorize the operation.

Step 5:  Controls, Conditions, and Monitoring

Operational Controls, Required for All Operations:

- Forecasted weather, winds, and sea conditions proper for intended operation?  Yes _____  No _____

- Has operation been approved by the OSC/UC?  Yes _____  No _____

- Have discharge standards been identified and are they acceptable?  Yes _____  No _____

- Is discharge area controlled by establishing a containment plan or the identification of an acceptable discharge area?  Yes _____  No _____

- Are proper shutdown procedures in place?  Yes _____  No _____

Public Notifications:

- Public notification implemented or addressed (e.g., radio broadcast, safety zone broadcast to mariners, road closure, etc.)?  Yes _____  No _____

- Press Releases communicated or addressed?  Yes _____  No _____

# Footnotes

Contact Water is defined as any water that has come in contact and/or is contaminated with “oil”, as defined in the Clean Water Act (CWA) as amended by the Oil Pollution Act of 1990 (OPA 90), Title I – Oil Pollution Liability and Compensation, Sec. 1001.  Definitions. (23) “oil” means oil of any kind or in any form, including, but not limited to, petroleum, fuel oil, sludge, oil refuse, and oil mixed with wastes other than dredge spoil, but does not include petroleum, including crude oil or any fraction thereof, which is specifically listed or designated as a hazardous substance under subparagraphs (A) through (F) of section 101(14) of the Comprehensive Environmental Response, Compensation, and Liability Act (42 U.S.C. 9601) and which is subject to the provisions of that Act.

# Text boxes

High volume of oil/water collected, stored, or contained

volume requiring disposal.

Has OSC/Unified Command determined that disposal of contact water into inland, ocean, or coastal waters is necessary?

End

End

End

Continue disposal

process and

monitor discharge.

Is disposal meeting discharge standard?

Develop/implement Site Safety and Monitoring Plan.

Dispose of contact water at approved facility.

Has OSC/UC approved the Plan?

Dispose of Contact Water.

Select suitable area for disposal.

Are

disposal options available?

Wait for OSC/UC approval.

Wait for OSC/UC determination.

Stop Discharge.

Dispose of remaining volume at approved facility or continue to store on site.

Is Ops Area suitable and has wildlife/sensitive areas been addressed?

OSC/Unified Command completes Disposal of Contact Water Operational Checklist.

Are there any other suitable areas?

Are Storage/ Containment resources limited and/or OSC/Unified Command needs to enhance efficiency of available storage/containment resources?